## GMP Audit checcklist
|  | The Akshaya Patra Foundation |  | Doc # |  | TAPF/QMS/QUA/Rec - 02 |  | Complied | 4
|  |  |  | Issue # |  | 2 |  | Not Complied | 0
|  |  |  | Date of issue |  | 2018-09-07 |  | Not Applicable | 4
|  | GMP Audit Checklist for Centralized Kitchen |  | Rev # |  | 0
|  |  |  | Rev Date |  |  |  | Complied | 2
Date (DD/MM/YYYY) |  | 2018-09-11 | Location Details | Bangalore -VKH ISO |  |  |  | Not Complied | 0
Name of Ops Head |  | Chetan D | Address | 8th Mile, Doddakallasandra Village, Kanakapura Road, Bengaluru – 560062 Karnataka |  |  |  | Not Applicable | 2
Name of Unit President / Director |  | Gunakara Rama Dasa | Name of Auditor | Vinish Sivan Nair
Sr # | Requirement |  | Category | Finding | Score |  | Comments / Remarks
[5 empty] | Standard | Result
1 | Legal Requirements
1.1 | FSSA (Food Safety Standards Act) license is available and valid. |  | Mandatory | Complied | 4 | 4
1.2 | Annual Return (Form -D1) Submitted to FSSAI or not |  | Mandatory | Complied | 4 | 4
1.3 | Trade License / Mass Cooking License is available and valid |  | Mandatory | Complied | 4 | 4
1.4 | Factory license is available and valid |  | Mandatory | Complied | 4 | 4
1.5 | Pollution control Board license is available and, 1. Valid 2. Current Environmental Status Audit report is submitted or not. |  | Mandatory | Complied | 4 | 4
1.6 | i) Boiler License is available and valid, ii) Service of license boiler Operator is available or not? |  | Mandatory | Complied | 4 | 4
1.7 | Has the DG set approved by State electrical Inspectorate? |  | Mandatory | Complied | 4 | 4
1.8 | Calibration records of weighing balances from legal Metrology is available and valid |  | Mandatory | Complied | 4 | 4
1.9 | Lab reports of water and food |  | Mandatory | Complied | 4 | 4
1.1 | M.O.U is valid or submitted for renewal. |  | Mandatory | Complied | 4 | 4
1.11 | Menu is meeting NV norms stipulated by MDM department or as per MoU |  | Mandatory | Complied | 4 | 4
2 | Medical Check up
2.1 | All food handlers shall be tested for contagious, loathsome diseases, report should show employee is medically fit to work in food industry and report date should be valid and with doctors registration number. |  | Mandatory | Complied | 4 | 4
2.2 | In case of an epidemic all workers to be vaccinated irrespective of the yearly scheduled vaccinations. |  | Mandatory | Complied | 2 | 2
2.3 | The factory staff shall be compulsorily inoculated against enteric group of diseases once a year per schedule and records shall be maintained for inspections. |  | Mandatory | Complied | 4 | 4
3 | Locations & Surroundings
3.1 | Food establishment shall be located away from industries and polluted areas |  |  | Complied | 2 | 2
3.2 | It shall be protected from safety hazards arising from surrounding environment (like fumes, excessive soot, dust, smoke, chemical and biological emissions & pollutants) |  |  | Complied | 2 | 2
3.3 | The manufacturing area shall not be used for residential purpose, nor provide direct access to any such residential area. |  |  | Complied | 2 | 2
3.4 | It shall be located away from areas prone to pest infestation, flooding, and solid and liquid disposing areas. |  |  | Complied | 2 | 2
4 | Layout and Design of premises.
4.1 | layout of the food establishment shall avoid cross contamination during food manufacturing or processing during material receiving and pre-processing. |  |  | Complied | 2 | 2
4.2 | The floor of the food processing area shall be made of impervious, non absorbent, non slippery, washable, non-toxic materials and slopped appropriately. |  |  | Complied | 2 | 2
4.3 | Floors shall be sloped appropriately to facilitate drainage in a way as to avoid cross contamination and stagnation of water. |  |  | Complied | 2 | 2
4.4 | Ceilings,electrical fixtures and overhead fixtures shall be designed, constructed, finished and maintained so as to minimise the accumulation of the dirt, condensation and growth of undesirable growth and shedding of paints and plasting particles |  |  | Complied | 2 | 2
4.5 | Windows, doors & all other openings to outside environment shall be well screened with wire mesh or insect proof screen or air curtains/strips and mesh and screens should be easily cleanable |  |  | Complied | 2 | 2
4.6 | Doors shall be made of smooth and non-absorbent surfaces so that they are easy to clean and wherever necessary, disinfect |  |  | Complied | 2 | 2
5 | Equipment
5.1 | Equipment's and containers which comes in contact with food and used for food handling, storage, preparation, processing, packaging and serving shall be made of corrosion free material. |  |  | Complied | 2 | 2
5.2 | It should not impart any toxicity to the food materials |  |  | Complied | 2 | 2
5.3 | Equipment's and utensils used in preparation of food shall be kept all times in good order and repair and in a clean and sanitary condition. |  |  | Complied | 2 | 2
5.4 | Storage or stacking place of the equipment's shall be in a in neat and clean area free from impure air, dust, noxious or deleterious gas or substances. |  |  | Complied | 2 | 2
5.5 | Equipment's or containers used for collection of the waste or by products shall be specifically identifiable and suitably constructed. |  |  | Complied | 2 | 2
5.6 | Containers used to hold cleaning chemicals and other dangerous substances shall be identified and stored separately to prevent cross contamination. |  |  | Complied | 2 | 2
5.7 | All items, fittings and equipment's that touch or come in contact to food shall be clean and disinfected and shall be made of stainless steel |  |  | Complied | 2 | 2
5.8 | Chipped and enabled containers shall not be used. |  |  | Complied | 2 | 2
6 | Control of Operation
6.1 | Raw material Receiving
6.1.1 | Incoming material is procured as per internally laid down specification from approved vendors. Check for records (like certificate of analysis, Form E, specifications, name and address of the supplier, batch no., mfg., use by/expiry date, quantity procured etc.) |  | Mandatory | Complied | 2 | 2
6.1.2 | The raw materials receiving area shall be neat and clean. |  |  | Complied | 2 | 2
6.1.3 | The mechanical weighing balance shall be neat and clean and without rusting. |  |  | Complied | 2 | 2
6.1.4 | The suppliers vehicle shall be checked for cleanliness and hygiene before accepting the raw materials. |  |  | Complied | 2 | 2
6.1.5 | Raw materials are inspected at the time of receiving for food safety hazards (i.e. All raw materials must be checked for In house TAPF Specification) and inspection rejection register updated daily. |  |  | Complied | 2 | 2
6.1.6 | FCI Rice quality after cleaning at in house or outsourced facility has been checked and recorded in Inspection and Rejection report. |  |  | Complied | 2 | 2
6.1.7 | Milk & milk products are receiving at temperature not more than 5◦C. |  |  | Complied | 2 | 2
6.2 | Storage
6.2.1 | Food items and Non food items shall be stored separately. |  |  | Complied | 2 | 2
6.2.2 | Incoming material, semi or final products are stored according to their temperature requirement in a hygienic environment to avoid deterioration and protect from contamination. FIFO & FEFO is practiced. |  | Mandatory | Complied | 2 | 2
6.2.3 | Adequate measures are taken to screen the entry of pest in to the kitchen. |  |  | Complied | 2 | 2
6.2.4 | Areas of the products shall be appropriately marked |  |  | Complied | 2 | 2
6.2.5 | All raw materials shall be kept in pallets and two feet away from wall. |  |  | Complied | 2 | 2
6.2.6 | Dry items and wet items shall be kept separate with proper segregation |  |  | Complied | 2 | 2
6.2.7 | No chemicals shall be kept inside the food store |  |  | Complied | 2 | 2
6.2.8 | Materials shall be properly packed, sealed and kept, Loose items are properly tied or keeping in containers . |  |  | Complied | 2 | 2
6.2.9 | Items shall be properly cleaned, manually or mechanically before issuing to kitchen |  |  | Complied | 2 | 2
6.2.10 | Food materials shall be stored in pest proof containers stacked above the ground on plastic pallets and away from walls. |  |  | Complied | 2 | 2
6.2.11 | Proper access control and proper ventilation |  |  | Complied | 2 | 2
6.3 | Cold Storage
6.3.1 | Temperature of the cold room is maintained less than 5°C. |  | Mandatory | Complied | 2 | 2
6.3.2 | Crates are arranged in pallets and keeping proper gaps to get proper cold air circulation. |  |  | Complied | 2 | 2
6.3.3 | Raw,processed vegetables and dairy products are stored seperatelly, processed vegetables are tagged with date. |  |  | Complied | 2 | 2
6.3.4 | Preventive maintenance of cold room shall be carried out. |  |  | Complied | 2 | 2
6.4 | Pre Processing
6.4.1 | The Area shall be adequately protected from pest entries and no pests observed in Pre Processing Area (PPA) |  |  | Complied | 2 | 2
6.4.2 | Area shall be neat and clean, adequate facilities for cleaning ,disinfecting of utensils & equipment are provided .It include the hot / cold water facility. |  |  | Complied | 2 | 2
6.4.4 | The cutting machines and grinders shall be cleaned with soap solution/chlorine water. |  |  | Complied | 2 | 2
6.4.5 | The vegetables shall be sanitized with 50 to 100PPM chlorine for 10 minutes. |  | Mandatory | Complied | 2 | 2
6.4.6 | The dust bins have lid (preferably foot operated) and neatly kept in the marked area. |  |  | Complied | 2 | 2
6.4.7 | In process materials are covered properly. |  |  | Complied | 2 | 2
6.4.8 | Paint peelings, rust formation, pests etc. observed in the area |  |  | Complied | 2 | 2
6.4.9 | Cutting boards, knives to be sanitized in 100-150 PPM chlorine Solution for defined contact time. |  |  | Complied | 2 | 2
6.5 | Cooking
6.5.1 | The cauldrons shall be cleaned thoroughly with soap solution and sanitized with hot water before operation |  | Mandatory | Complied | 2 | 2
6.5.2 | The area shall be neat and clean with adequate ventilation and exhaust fan facility |  |  | Complied | 2 | 2
6.5.3 | Any paint peelings, pests are observed in the area. |  |  | Complied | 2 | 2
6.5.4 | Employees are behaving properly inside the kitchen and following proper personal hygiene practices like clean uniform, mask, cap, gumboots etc. |  |  | Complied | 2 | 2
6.5.5 | Rice pushing ladles shall be kept in hot water |  |  | Complied | 2 | 2
6.5.6 | Rice unloading trolleys are sanitizing with hot water before unloading first batch rice. |  |  | Complied | 2 | 2
6.5.7 | Sambar / Dal channels, sambar /Dal chute & rice unloading chute shall be sanitized with hot water before operation. |  |  | Complied | 2 | 2
6.5.8 | No leakage in water pipelines. |  |  | Complied | 2 | 2
6.5.9 | Water hoses are hanged in hooks properly. |  |  | Complied | 2 | 2
6.5.10 | Cleanliness of entire area |  |  | Complied | 2 | 2
6.5.11 | Exhaust fans and exhaust systems having proper closures to avoid pest entry. |  |  | Complied | 2 | 2
6.5.12 | CCPs are monitored and recorded properly |  | Mandatory | Complied | 2 | 2
6.6 | Packing
6.6.1 | The sambar / dal tank, rice chutes are sanitized with hot water before starting operation |  | Mandatory | Complied | 2 | 2
6.6.2 | The rice pushing ladles are kept in hot water |  |  | Complied | 2 | 2
6.6.3 | Employees are behaving properly and following proper personal hygiene practices like clean uniform, mask, cap, gumboots etc. |  |  | Complied | 2 | 2
6.6.4 | Employees are sterilizing vessels with steam just before filling the food and maintain a contact time of minimum 10 seconds. |  | Mandatory | Complied | 2 | 2
6.6.5 | Batch numbers are fixed in the vessels for traceability |  | Mandatory | Complied | 2 | 2
6.6.6 | The lids are tightly closed |  |  | Complied | 2 | 2
6.6.7 | Damaged vessel shall not be used |  |  | Complied | 2 | 2
6.6.8 | Any paint peelings, pests are observed in the area. |  |  | Complied | 2 | 2
6.6.9 | Uniform filling of sambar/Dal in vessels are observed |  |  | Complied | 2 | 2
6.7 | Food Distribution
6.7.1 | Food transportation vehicles are cleaned thoroughly, No Pest identified inside the vehicle. |  | Mandatory | Complied | 2 | 2
6.7.2 | No pest observation in the area |  |  | Complied | 2 | 2
6.7.3 | Route boys and drivers are wearing clean uniforms |  |  | Complied | 2 | 2
6.7.4 | Vehicle racks are interlocked and vehicle doors are locked before starting. |  |  | Not Applicable | 2 | 2
6.7.5 | Rented vehicles are properly covered and leak proof? |  |  | Complied | 2 | 2
6.7.6 | Temperature of the food maintained at 65◦C or above during the delivery at each school |  | Mandatory | Complied | 2 | 2
6.7.7 | Cook to consumption time is not more than 4hrs. |  |  | Complied | 2 | 2
6.7.8 | The vehicle is having a copy of all legal documents like RC, Insurance, Drivers License, Emission Test Certificates, Fitness Certificate, Road Tax etc. during each day delivery. |  | Mandatory | Complied | 2 | 2
6.7.9 | Does the rented vehicles have valid FSSAI license or not? |  | Mandatory | Complied | 2 | 2
6.7.10 | The emergency contact numbers are pasted in vehicles |  |  | Not Applicable | 2 | 2
7 | Personal Hygiene
7.1 | Personnel with disease or illness and open wounds shall not be allowed to enter in to any food handling area. |  |  | Complied | 2 | 2
7.2 | A display board mentioning do's & don'ts for the workers shall be put upside in prominent place in the premise in English or in local language for everyone understanding. |  |  | Complied | 2 | 2
7.3 | Separate change rooms and lavatories shall be provided for male and female workers with appropriate hygienic design and should not directly open to production areas and should be provided with hand wash stations. |  |  | Complied | 2 | 2
7.4 | Fingernails shall be kept short, clean and unvarnished. Short hairs and daily shaving. |  |  | Complied | 2 | 2
7.5 | Excessive perfume or aftershave shall not be worn. |  |  | Complied | 2 | 2
7.6 | Eating and drinking shall only be permitted in designated areas segregated from food-handling and storage areas. |  |  | Complied | 2 | 2
7.7 | Prohibition on use of jewellery (rings, earrings, pendants, bindies, bangles etc.) |  |  | Complied | 2 | 2
7.8 | Regular hand washing at appropriate times(before entering into kitchen, after each visit to toilets, after handling waste, after handling raw food, after touching your body etc.) facilities shall include wash basins with a supply of hot and cold water. |  |  | Complied | 2 | 2
7.9 | Suitable and sufficient hand-washing facilities shall be provided at access to, and at other appropriate points |  |  | Complied | 2 | 2
7.1 | Food handers engaged in food engaged in food handling activities shall refrain themselves from smoking, spitting, chewing or eating; sneezing or coughing over any food whether protected or unprotected food and eating in food preparation and food service areas. |  |  | Complied | 2 | 2
7.11 | Employees shall not smoke, spit, eat or drink in areas where raw materials and food products are handled and stored. |  |  | Complied | 2 | 2
7.12 | Control over all cuts and grazes on exposed skin |  |  | Complied | 2 | 2
7.13 | Existence of first aid box (properly equipped) with expiry date. |  |  | Complied | 2 | 2
7.14 | Usage of mobiles shall not be allowed inside the kitchen. |  |  | Complied | 2 | 2
8 | Visitors
8.1 | Proper care has to be taken to ensure that food safety & hygiene is not getting compromised due to visitor in the floor area. |  |  | Complied | 2 | 2
8.2 | Visitor's policy shall be fixed at the entrance and the establishment ensure that visitor wear protective clothings, footwear and adhere to the other personal hygiene practices during his visit to food manufacturing areas. |  |  | Complied | 2 | 2
9 | Air quality & Ventilations
9.1 | Ventilation systems natural/mechanical including air filters, exhaust fans, wherever required shall be designed and constructed so that air does not flow from contaminated area to clean areas. |  |  | Complied | 2 | 2
10 | Lighting and glass control
10.1 | Sufficient light facility shall be provided in cooking and packing areas |  |  | Complied | 2 | 2
10.2 | Tube lights shall be covered with protective covering or unbreakable nature to ensure that the food which is directly exposed is not contaminated by breakages. |  | Mandatory | Complied | 2 | 2
10.3 | All glass windows shall be protected with sun control film and numbered. |  |  | Complied | 2 | 2
10.4 | No glass or plastic bangles are allowed inside the cooking area. |  |  | Complied | 2 | 2
11 | Cleaning & Maintenance
11.1 | Cleaning schedule shall be clearly defined and followed and records of the cleaning shall be maintained. |  |  | Complied | 2 | 2
11.2 | Cleaning & Sanitizing chemicals are approved for use in food processing facility and the dilution of chemicals as per supplier recommendation and validated. |  |  | Complied | 2 | 2
11.3 | A pre-operative inspection is documented & includes a visual inspection to confirm equipment is effectively cleaned and sanitized. |  |  | Complied | 2 | 2
11.4 | All chemicals shall be stored separately away from the food materials and should be clearly identified to avoid the risk of contaminating food. |  |  | Complied | 2 | 2
11.5 | Preventive maintenance of equipments, machinery, building and other facilities shall be carried out regularly as per the instruction of the manufacturer to prevent hazards from entering in to food while processing. |  |  | Complied | 2 | 2
11.6 | Edible grade Lubricants shall be used where machinery/equipment is in direct contact with food.(Roti Machine) |  |  | Complied | 2 | 2
12 | Waste Disposal
12.1 | The disposal of sewage and effluents shall be in conformity with requirements of factory/pollution control board |  |  | Complied | 2 | 2
12.2 | Adequate drainage, waste disposal systems and facilities shall be provided for waste disposal. |  |  | Complied | 2 | 2
12.3 | food waste and other waste materials shall be removed frequently from the place where food is being handled or cooked and processing to avoid build up. |  |  | Complied | 2 | 2
12.4 | Waste storage area shall not be located near to food process or storage areas. |  |  | Complied | 2 | 2
12.5 | The waste bins have lid, pedal, single-use bags and are provided in adequate numbers |  |  | Complied | 2 | 2
12.6 | Regular removal of waste shall be done everyday dustbin shall be washed and disinfected |  |  | Complied | 2 | 2
13 | Pest Control
13.1 | Pest control services shall be extended to food transporting vehicles also. |  |  | Complied | 2 | 2
13.2 | No lizard, flies, rat etc. observation in the kitchen and premises |  |  | Complied | 2 | 2
13.3 | holes, drains and other places where pests are likely to gain access shall be kept in sealed condition or fitted with mesh/grills/claddings. |  |  | Complied | 2 | 2
13.4 | Birds and pets shall not be allowed to enter in to the food establishment areas/premises. |  |  | Complied | 2 | 2
13.5 | Treatment of the pest shall be done with the permissible chemical, physical or biological agents, within the permissible limits as provided by the authority. |  |  | Complied | 2 | 2
13.6 | Pest activity trend reports should be documented and appropriate RCA with proper CA should be evidenced |  | Mandatory | Complied | 2 | 2
13.7 | The drainages have proper closure to arrest pest entry |  |  | Complied | 2 | 2
13.8 | The pest control operator is trained and licensed? |  |  | Complied | 2 | 2
13.9 | MSDS available for all chemicals that using, all pesticides are kept in original containers for easy identification during service? |  |  | Complied | 2 | 2
13.1 | The roda boxes and bait stations are numbered, properly secured and rodent box maps are available for identification? |  |  | Complied | 2 | 2
13.11 | The chemical containers carried by the technicians shall be labeled appropriately and shall be verified before treatment. |  |  | Complied | 2 | 2
13.12 | The copy of "license to sell, stock or exhibit for sale or distribution of insecticides?" for the service provider is available? |  |  | Complied | 2 | 2
14 | Premises and Others
14.1 | Cleanliness of the change rooms, toilets, hand & leg washing area, corridors and dining hall. |  |  | Complied | 2 | 2
14.2 | Soap dispensers shall be filled with antimicrobial solution. |  |  | Complied | 2 | 2
14.3 | Boiler rooms shall be neat and clean |  |  | Complied | 2 | 2
14.4 | Gumboots shall be water washed and ready to wear |  |  | Complied | 2 | 2
14.5 | Street shoes and factory shoes kept separate in stand. |  |  | Complied | 2 | 2
14.6 | Vessel washing tanks/area shall be neat and clean. |  |  | Complied | 2 | 2
14.7 | No leakage in water pipelines or showers of the vessel washing area. |  |  | Complied | 2 | 2
14.8 | Vessels storing area is protected to ensure no pest entry. |  |  | Complied | 2 | 2
14.9 | Vessels has been checked for soap oil after washing |  |  | Complied | 2 | 2
14.1 | The entire cleanliness of the surroundings and premises is good. |  |  | Complied | 2 | 2
15 | Water facilities
15.1 | Bore well is maintained properly and protected with lock and key arrangements |  |  | Complied | 2 | 2
15.2 | R.O membrane is cleaned and sanitized as per schedule and daily back wash of Carbon filter, Sand filter etc. |  | Mandatory | Complied | 2 | 2
15.3 | U.V lamp is working properly or not |  |  | Complied | 2 | 2
15.4 | Physio chemical analysis of water of treated water is performed daily. |  |  | Complied | 2 | 2
15.5 | Water tanks including sumps are cleaned every month and cleaning records shall be maintained. |  |  | Complied | 2 | 2
15.6 | Only potable water, meeting the requirements of Bureau of Indian standards specifications shall be used.(IS 10500) |  |  | Complied | 2 | 2
15.7 | Non potable water pipes shall be clearly distinguished from potable water pipelines. |  |  | Complied | 2 | 2
15.8 | Water tanks are properly covered without rain water entry & locked. |  |  | Complied | 2 | 2
15.9 | The surrounding area of sumps and water tanks should be clean and neat |  |  | Complied | 2 | 2
15.1 | Water tanks are EPI coated / tiled or not |  |  | Complied | 2 | 2
16 | Steam
16.1 | Steam used in direct contact with food shall be made from potable water. |  | Mandatory | Complied | 2 | 2
16.2 | Steam Carrying pipelines are SS 304 |  |  | Complied | 2 | 2
17 | Training
17.1 | Annual training plan has defined and documented, training conducted as per the plan |  | Mandatory | Complied | 2 | 2
17.2 | Food handlers shall have the necessary knowledge and skills which are relevant to the food processing /manufacturing, packing, storing, serving so as to ensure food safety and quality. |  | Mandatory | Complied | 2 | 2
17.3 | Periodic assessments of the effectiveness of training shall be made as to ensure that food hygiene and food safety procedures are being carried out effectively |  | Mandatory | Complied | 2 | 2
17.4 | Training programme shall be routinely reviewed and updated wherever necessary |  | Mandatory | Complied | 2 | 2
18 | Food Testing
18.1 | All tests have been performed as per the internal lab analysis calendar |  | Mandatory | Complied | 4 | 4
19 | Miscellaneous
19.1 | Cleanliness of rice cleaning machine |  |  | Complied | 2 | 2
19.2 | Cleanliness of oorja/gas stoves |  |  | Complied | 2 | 2
19.3 | Gauss of the Magnet has been checked and each magnet is above 7000 gauss. |  | Mandatory | Complied | 2 | 2
19.4 | Preventive maintenance shall be carried to all maintenance equipment |  | Mandatory | Complied | 2 | 2
20 | 10 Quality Metric Verification
20.1 | CTSS |  | Mandatory | Complied | 2 | 2
20.2 | Customer Complaint & CAR |  | Mandatory | Complied | 2 | 2
20.3 | FQI |  | Mandatory | Complied | 2 | 2
20.4 | SBP Compliance |  | Mandatory | Complied | 2 | 2
20.5 | Production Process Compliance checklist |  | Mandatory | Complied | 2 | 2
20.6 | LA (Inspection Rejection report) |  | Mandatory | Complied | 2 | 2
20.7 | Vehicle Hygiene Checklist |  | Mandatory | Complied | 2 | 2
20.8 | On Time Delivery report |  | Mandatory | Complied | 2 | 2
20.9 | Training Compliance |  | Mandatory | Complied | 2 | 2
20.1 | Menu Compliance |  | Mandatory | Complied | 2 | 2
Total |  |  |  |  | 386 | 386
|  |  | Score Obtained (%) |  |  | 100
|  | Score Card | Compliance - Out Standing |  | ≥95
|  |  | Compliance - Satisfactory |  | 95 ≥ 90
|  |  | Compliance - Needs Improvement |  | 90 ≥75
|  |  | Non Compliance |  | <75
Note:- All mandatory check points may have significant impact on Food safety or regulatory compliance, Failure of any mandatory requirements will lead to Non Compliance.

## Sheet2 (hidden)
Complied | 4 | Vishakapatnam | Behind 5th town police station, Next to Kapparada Municipal High school, Industrial Estate, Visakhapatnam - 530007 Andhra Pradesh | Vishakapatnam | Nishkinchana Bhaktha Dasa | Vishakapatnam | Mahesh Patnaik
Not Complied | 0 | Kakinada | Cheedilapora, Backside of Shaloon Church, Ramaraopeta Kakinada – 533 004 Andhra Pradesh | Kakinada | Nishkinchana Bhaktha Dasa | Kakinada | Mahesh Patnaik
Not Applicable | 4 | Vijayawada | Ground Floor, Plot No : 24, D.No: 40-9-89, Sai Nagar, Near Benz Circle, Vijayawada - 520010 Andhra Pradesh, India.Phone: 0866-2489972 | Vijayawada | Mahavishnu Dasa | Vijayawada | Vamshidhara Dasa
|  | Nellore | C/o KomalaIndustries, Plot No 55,Industrial park, Chemudugunta,Venkatachalam Nellore – 524001 | Nellore | Satya Gaura Chandra Dasa | Nellore | Kaunteya Dasa
Complied | 2 | Guwahati ISO | Village Numalijula, Mouza Sila, Siduri Gopha, NH – 31, Amingaon, Guwahati – 781031 Assam | Guwahati ISO | Janardhana Dasa | Guwahati ISO | Durgesh Gupta
Not Complied | 0 | Bhilai ISO | Old Dairy Building, Behind Gurudwara, Sector – 6, Bhilai – 490006 Chhattisgarh | Bhilai ISO | Vyomapada Dasa | Bhilai ISO | Anjali
Not Applicable | 2 | Ahmedabad ISO | Opp. Ahmedabad Dental College, Santej Village, Taluka – Kalol , Gandhinagar – 382115 Gujarat | Ahmedabad ISO | Jaganmohan Krishna Dasa | Ahmedabad ISO | Jagaranjan Mishra
|  | Bhavnagar ISO | Plot No. 395, Chitra GIDC, Bhavnagar - 364004 Gujarat | Bhavnagar ISO | Jaganmohan Krishna Dasa | Bhavnagar ISO | Jagaranjan Mishra
Vinish Sivan Nair |  | Vadodara ISO | Plot No 42, Nr. Citizen Society, Opp. Sevashram Society, Hari Nagar-Gotri Road, Vadodara- 390 023 Gujarat | Vadodara ISO | Jaganmohan Krishna Dasa | Vadodara ISO | Jagaranjan Mishra
Suresh Kumar P |  | Surat ISO | Plot No. 55, Bhagyodaya Industrial Road, Behind D R World Mall, Near Saptarshi Row House, Aai Mata Chowk, Magob to Dudhal Road, Surat – 395010 Gujarat | Surat ISO | Jaganmohan Krishna Dasa | Surat ISO | Jagaranjan Mishra
Ankit Sharma |  | Kalol |  | Kalol | Jaganmohan Krishna Dasa | Kalol | Jagaranjan Mishra
Vivek Kodoth |  | Bangalore -HKH ISO | Hare Krishna Hill, W. O. C. Road, Rajajinagar, Bengaluru – 560 010 Karnataka | Bangalore -HKH ISO | Gunakara Rama Dasa | Bangalore -HKH ISO | Arun Kumar V
|  | Bangalore -Jigani | The Akshaya Patra Foundation, Plot No.48,Property no.179, Jigani Industrial Area, Near APC Circle, Anekal Taluk, Bengaluru - 560105 | Bangalore -Jigani | Gunakara Rama Dasa | Bangalore -Jigani | Arun Kumar V
|  | Bangalore -VKH ISO | 8th Mile, Doddakallasandra Village, Kanakapura Road, Bengaluru – 560062 Karnataka | Bangalore -VKH ISO | Gunakara Rama Dasa | Bangalore -VKH ISO | Chetan D
|  | Ballari ISO | Sandur, Ballari Road, Shankar Gudda Colony, Thoranagallu, Ballari District – 583275, Karnataka | Ballari ISO | Gunakara Rama Dasa | Ballari ISO | Shreedhara G M
|  | Hubballi ISO | Behind KSFC Office, Hubballi- Dharwad Road, Rayapur, Dharwad – 580009 Karnataka | Hubballi ISO | Rajeevlochana Dasa | Hubballi ISO | Basavaraj Shettar
|  | Mangaluru | Sulthanbathery Road, Urwa Market, Mangaluru | Mangaluru | Karunya Sagar Dasa | Mangaluru | Nandanacharya Dasa
|  | Mysuru | 18th Cross, SY No – 31, Jayanagar, Mysuru – 570014 Karnataka | Mysuru | Jai Chaithanya Dasa | Mysuru | Krishna Keshava Dasa
|  | Nagpur | Plot no.1, Near Vinit Restaurant , Anmol Nagar, Wathoda Square, Nagpur – 440008 | Nagpur | Vyomapada Dasa | Nagpur | Prashanth Bhagat
|  | Thane | Municipal School no:133, Ward no.8, Pawar Nagar, Near Vasant Vihar Bus Stop, Thane(west),Maharashtra | Thane | Amitasana Dasa | Thane | Manu Mehrotra
|  | Bhubaneswar | Plot No. 1192,/1727 ,Mouza Nuahat, Bamphakuda, Phulnakhara, Cuttack – 754001 Odisha | Bhubaneswar | Pancharatna Dasa | Bhubaneswar | Niranjan Bhaktha Dasa
|  | Puri | Balagandi Grand Road, Puri – 752001 Odisha | Puri | Pancharatna Dasa | Puri | Niranjan Bhaktha Dasa
|  | Rourkela ISO | Erstwhile Ispat High School Sector-7 Rourkela – 769003 Odisha | Rourkela ISO | Pancharatna Dasa | Rourkela ISO | Maheswar Jena
|  | Ajmer ISO | Near GUPS, Frazor Road, Topdara, Ajmer-305001 | Ajmer ISO | Rathnangada Govinda Dasa | Ajmer ISO | Raghupathi Dasa
|  | Jaipur ISO | C-6 – C 11, Mahal Yogna, Goner Road, Jagatpura, Jaipur – 302017 Rajasthan | Jaipur ISO | Rathnangada Govinda Dasa | Jaipur ISO | Raghupathi Dasa
|  | Jodhpur | Gram Sevak Prashikshan Kendra Opp. NLU Near Railway Crossing Nagour Road, Jodhpur – 303004 Rajasthan | Jodhpur | Rathnangada Govinda Dasa | Jodhpur | Raghupathi Dasa
|  | Nathdwara ISO | Ganesh Tekri Road, Tahsil Nathadwara – 313301 Rajasthan | Nathdwara ISO | Rathnangada Govinda Dasa | Nathdwara ISO | Raghupathi Dasa
|  | Bhilwara |  | Bhilwara | Rathnangada Govinda Dasa | Bhilwara | Raghupathi Dasa
|  | Jhalawar |  | Jhalawar | Rathnangada Govinda Dasa | Jhalawar | Raghupathi Dasa
|  | Hyderabad -Narsingi | C/o.Sri Krishna Goseva Mandal, Hyderabad,Kokapet, Hyderabad,Telangana,500075 | Hyderabad -Narsingi | Satya Gaura Chandra Dasa | Hyderabad -Narsingi | Kaunteya Dasa
|  | Kothagudem | TAPF Kothagudam | Kothagudem | Satya Gaura Chandra Dasa | Kothagudem | Kaunteya Dasa
|  | Hyderabad -Kandi | Shankarpalli Road,Opp RTA Kandi,Sangareddy, Hyderabad, Telangana -502 285 | Hyderabad -Kandi | Satya Gaura Chandra Dasa | Hyderabad -Kandi | Yagneshwara Dasa
|  | Lucknow ISO | Khasra No.2811, Near Indian Oil Depo Amausi Industrial Area, Amausi, Lucknow-226008 Uttar Pradesh | Lucknow ISO | Suvyaktha Narasimha Dasa | Lucknow ISO | Sunil Kumar Mehta
|  | Vrindavan ISO | Gopal Garh, Chhatikara Road, Vrindava, Mathura District – 281121, Uttar Pradesh | Vrindavan ISO | Suvyaktha Narasimha Dasa | Vrindavan ISO | Ajay Madan
|  | Mant | The Akshaya Patra Foundation, Mant,Vrindavan U P. | Mant | Suvyaktha Narasimha Dasa | Mant | Ajay Madan

## NC Description
Remarks | Photo
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Procedure to insert pics (hidden)
1. Select a range that you want to insert pictures
2. Hold down the ALT + F11 keys, and it opens the Microsoft Visual Basic for Applications window
3. Click Insert > Module, and paste the following macro in the Module Window.
Sub InsertPictures() 'Update 20140513 Dim PicList() As Variant Dim PicFormat As String Dim Rng As Range Dim sShape As Shape On Error Resume Next PicList = Application.GetOpenFilename(PicFormat, MultiSelect:=True) xColIndex = Application.ActiveCell.Column If IsArray(PicList) Then xRowIndex = Application.ActiveCell.Row For lLoop = LBound(PicList) To UBound(PicList) Set Rng = Cells(xRowIndex, xColIndex) Set sShape = ActiveSheet.Shapes.AddPicture(PicList(lLoop), msoFalse, msoCTrue, Rng.Left, Rng.Top, Rng.Width, Rng.Height) xRowIndex = xRowIndex + 1 Next End If End Sub
4. Then press the F5 key to run this code, and select the folder which contains the pictures that you want to insert. Then specify the pictures as you need. And click Open button.
5. And all the selected pictures have been imported into your selection based on the cell size